ONR Guidance Document General inspection guide

Contents

1.	Introduction	4

1.1.	Purpose	4

1.2.	Scope and applicability	4

1.3.	Acronym list	5

2.	Planning	6

2.1.	Strategic planning	6

2.2.	Planning inspection and engagements	7

3.	Preparation	12

3.1.	Preparation for emergent inspections	12

3.2.	Choosing times and dates	13

3.3.	Scope	13

3.4.	Inspection checklist	15

4.	Delivery	16

4.1.	Personal safety and security	16

4.2.	Values and behaviours	17

4.3.	Team working	18

4.4.	Opening meeting	19

4.5.	Inspection	19

4.6.	General facility surveillance and plant walk-downs	20

4.7.	Communication	21

4.8.	Evaluation of compliance	21

4.9.	Closing meeting	22

4.10.	Dealing with incidents while on site	22

5.	Record	24

5.1.	General	24

5.2.	Guidance on tone and content	25

6.	Follow-up	26

Appendix 1 – Inspection ratings guide	27

Appendix 2 – Guidance on different types of inspections	30

Appendix 2A – Compliance inspections	30

Appendix 2B – Themed inspections	30

Appendix 2C – System based inspections	31

Appendix 2D – Chief Nuclear Inspector inspections	35

Appendix 2E – Readiness inspections	36

Appendix 3 – Guidance for interaction with internal challenge function	39

Appendix 4 – Official notebooks	41

Appendix 5 – Interaction with safety representatives	44

References	46

Document control information	47

# Introduction

## Purpose

The purpose of this document is to provide support to ONR inspectors in consistently planning for, undertaking and recording regulatory inspections.

## Scope and applicability

This guide provides the foundation for inspection activities undertaken by ONR inspectors across ONR’s purposes. Training on planning, conduct and reporting of the various types of inspections is covered in the Regulatory & Legal Courses N-Series training course N10 - Nuclear Inspection Basics and is captured in the WIReD Inspection Process In App help.

This guide covers the fundamentals of undertaking inspection activities and should be read in conjunction with other core regulatory activity guidance supporting enforcement [1], investigation [2], regulatory issues [3],  incident reporting management [4] and permissioning [5].

## Acronym list

Table 1 - List of acronyms

| Acronym | Description |
| --- | --- |
| COMAH | Control of Major Accident Hazards |
| CNI | Chief Nuclear Inspector |
| DoR / DCI | Director of Regulation / Deputy Chief Inspector |
| EIADR | Environmental Impact Assessment for Decommissioning Regs |
| EMM | Enforcement Management Model |
| HoR / SI | Head of Regulation / Superintendent Inspector |
| HSE | Health and Safety Executive |
| HSWA | Health and Safety at Work Act |
| IAEA | International Atomic Energy Agency |
| KIT | Keep In Touch |
| MoU | Memorandum of Understanding |
| NSI | Nominated Site Inspector |
| ONR | Office for Nuclear Regulation |
| R2A2 | Roles, Responsibilities, Accountabilities and Authorisations |
| RCIS | Redgrave Court Incident Suite |
| RIM | Regulatory Interface Meeting |
| RITE | Risk Informed and Targeted Engagement Policy |
| ROSPI / MEC | Risk of Serious Personnel Injury / Matter of Evident Concern |
| RSP | Relevant Statutory Provision |
| SBI | System Based Inspection |
| SDB | Sub Directorate Board |
| SI | Superintending Inspector |
| SSS | Safeguards / Safety Systems and Structures |
| TIG | Technical Inspection Guide |
| WIReD | Well Informed Regulatory Decisions |

# Planning

## Strategic planning

The Inspection plans should derive from and take into account a number of areas summarised below.

Strategic alignment

Policy alignment

Regulatory intelligence – cross-purpose

ONR Strategy

Directorate strategy/ plans

Regulatory objectives

Regulatory priorities

Enforcement Policy Statement

Risk Informed and Targeted Engagement (RITE)

Regulators Code

Regulatory Attention Levels

CNI Themes

Trends – Events

Knowledge of dutyholder activities

Knowledge of other regulators focus areas

Recording the basis for your dutyholder / site / facility intervention (the inspections, permissioning and engagements) plans is determined by the governance arrangements of your Sub-Directorate to ensure that they have the right level of oversight (as we are committing ONR resource) before being entered onto WIReD.

Directors of Regulation (DoR) delegate responsibility for the development and oversight of inspections to Sub-Directorate Boards (SDBs) led by Heads of Regulation (HoR) who are tasked to ensure that the regulatory activity of all inspectors is integrated and co-ordinated in a proportionate and targeted way.

For inspection plans, it is usually the Nominated Site Inspector (NSI) who is responsible for delivery of all nuclear safety inspection and coordinating the delivery of the plan. The safeguards, security, nuclear site health and safety, Environmental Impact Assessment for Decommissioning Regulations (EIADR), and transport inspections will be the responsibility of the lead inspector for the site / facility.

ONR Security and Safeguards Inspectors have additional inspection guidance to support them, [6] and [7] respectively, specific to the purpose.

## Planning inspection and engagements

### Inspection types

ONR utilises a range of inspection types as identified in Table 2. 
Inspectors determine the right inspection type based upon the regulatory outcomes that they want to achieve, such as:

Understanding the level of compliance with a specific aspect of the appropriate Relevant Statutory Provisions (RSP), licence condition or enforcement action.

Grouping of multiple compliance aspects to gain an overall view of a system, dutyholder approach, response to an incident, enforcement action or readiness for a new activity.

Table 2 - Types of inspection

| Inspection Types | Appendix 2 |
| --- | --- |
| Compliance Inspections | A |
| Themed Compliance Inspections | B |
| System Based Inspections (SBIs) – type of themed inspection | C |
| Chief Nuclear Inspector (CNI) Inspections – type of themed inspection | D |
| Readiness Inspections – type of themed inspection | E |

### Inspection approaches

ONR inspections are primarily planned, but inspectors must be ready to respond to emergent issues or incidents when necessary. 
Sub-Directorate resource plans should account for the potential impact of reactive inspections on scheduled activities. Any adjustments to planned inspections should be discussed with the HoR and updated in WIReD. Reactive inspections must be tagged in WIReD and rated if comparable in effort and scope to standard compliance inspections (typically about half a day).

Most ONR inspections are planned and announced to ensure dutyholder staff and records are available, allowing for efficient completion. 
Reactive inspections are typically announced for the same reasons, although both planned and reactive inspections may be unannounced.

All sites may be subject to unannounced inspection, either planned or reactive, but reactive unannounced inspection is unusual and should be agreed between the inspector and the HoR, and a clear record of why a reactive unannounced inspection is appropriate should be made in the scope tab of the WIReD inspection record.

Before conducting an unannounced inspection, the NSI should assess its regulatory value. If sharing inspection plans with the dutyholder, exclude details of unannounced inspections to prevent disclosure. Unannounced inspections marked on WIReD’s summary page remain hidden from the dutyholder portal until completed and formally approved.

Unannounced inspections do not have to be undertaken out of normal business hours, but they can be effective if they are out of hours. In such cases, inspectors should ensure they have considered all relevant risks to their personal safety, how access will be arranged and discussed their mitigation and management with their HoR.

Recognising that there will be likely synergies with other regulatory purposes and actively engaging on plans and deconflicting activities is necessary, is an important aspect of the planning process. As the potential for either joint inspections or the identification of regulatory intelligence for our inspection colleagues will reduce the risk of duplication, thereby reducing the burden on industry and increasing the efficiency of ONR.

Inspections may also be joint inspections involving the dutyholder internal regulator and / or other regulatory agencies. These should occur where there are strong synergies with our regulatory outcomes and should not undermine our independence and remain intra viries. If joint inspections are to be undertaken, inspectors should ensure the other regulatory bodies involved are consulted throughout the stages of this guide. Where an agency agreement/MoU exists, the inspector should ensure this is followed and any working arrangements are understood.

### Regulatory Interface Meetings (RIM)

RIMs clarify engagement expectations and provide forums for dutyholders and regulators to discuss site matters. Regulators may also initiate RIM level 4 with dutyholders to address routine regulatory issues, incidents, general updates, and permissioning.

These meetings should be led by the dutyholder, to an agreed agenda and any minutes or notes of the meeting captured by the dutyholder and shared, especially any actions. Expectations for when meeting documentation will be available should be agreed. Key regulatory points will be captured by the inspector in a contact record recorded in WIReD. These meetings provide for an efficient means of communication, to collect regulatory intelligence and as an opportunity to provide regulatory advice to dutyholders.

There are typically four levels to the engagements which may vary due to the size or complexity of the Licensee's organisation. Directorate's may specify who attends these meetings in their own arrangements:

  - Level 1: Policy - Level 1 interactions determine policy typically over a five-year time frame. They identify key policy matters, major organisational issues and resolve matters from Level 2 interactions.

  - Level 2: Strategic Direction - Level 2 interactions determine strategic direction typically over a two-year time frame. They provide information on the future direction of the dutyholder, identify matters of strategic importance, agree programmes to resolve strategic issues, monitor progress on agreed programmes and resolve matters from Level 3 interactions.

  - Level 3: Operational and Technical Issues - Level 3 interactions provide information on operational and technical issues. They provide an opportunity for monitoring progress, decision making, resolving technical issues and also considering matters arising from Level 4 interactions as appropriate.

  - Level 4: Information Exchange - Level 4 interactions enable information exchange and gathering. Monitoring and clarification of technical issues is undertaken, and appropriate routes agreed to seek resolution on technical issues. Along with routine regulatory business e.g. regulatory issues, changes to plans or facilities, enforcement actions and permissioning.

### Significant inspector roles related to inspection planning

#### Nominated Site Inspector

Every nuclear licensed site has a full warranted NSI assigned to it. Dependent on the risk profile, the complexity and activities being undertaken there may be a number of facility specific site inspectors associated. Similarly, there may be a single NSI responsible for more than one site, again dependent on risk profile.

The NSI role is to act as ONR’s principal point of regulatory contact for interactions with the dutyholder and the public at stakeholder meetings 
(refer to the ‘Site and Nominated Site Inspector’ R2A2 [8] for more information on the role). HoR will ensure assigned NSIs have sufficient knowledge of regulatory activity relating to the site across ONR’s purposes.

The NSI and dutyholder facing inspector’s must collaborate to present ONR as a unified regulator. The NSI should oversee intervention strategies, plans, and major enforcement activities, and regularly share site regulatory updates, typically during sub directorate KIT meetings.

To avoid confusion the term NSI should be reserved for the role described above. Where there are multiple Inspectors assigned to a site and across different facilities and purposes other terms should be used. For example, this could be ‘Lead’ relating to a purpose, a specialism or a facility.

The NSI shall coordinate development of the annual site inspection plan if required by sub directorate governance. Plans should be drafted in the WIReD inspection data base for approval by the relevant HoR (or nominee), as well as associated activities such as drafting / coordinating the dutyholder attention level [9] for sub directorate governance. The NSI shall engage with lead inspectors and monitor delivery of their site’s approved inspection plan. If in-year change to inspection plans is required, amendments will be made by inspectors using the WIReD system and any specific directorate governance.

The NSI provide briefings to specialist inspectors carrying out inspections on the site, provides advice and coaching to those planning and undertaking inspections and are a means of escalating issues identified from inspections.

#### Heads of Regulation

Each sub directorate will have a HoR associated with it, who provides the strategic and tactical regulatory oversight related to Safety, Safeguards and Security. They also provide strategic vision and leadership, develop a regulatory strategy that is risk informed and intelligence led, targeted, proportionate, enabling and adds value, contributing to the directorate strategy.

HoRs oversight of the regulatory strategy within budget, with a focus on outcomes and efficiency within any delegated financial authority. 
They provide an annual demand for resource by specialism that is risk-informed, targeted, well underpinned and takes into account data and intelligence.

HoRs lead and maintain the relationship with key stakeholders; focused on maintaining trust and credibility to enable effective outcome. There is a role, responsibility, accountability and authorisations (R2A2) for the HoR [10].

HoRs provide coaching, mentoring as well as the approvals of regulatory decision making. Oversight of the quality and timeliness of records produced. They provide assurance through regulatory judgement and management information to the directorate governance meeting, regulatory leadership team and senior leadership team as appropriate, on the effectiveness and efficiency of regulation within the sub-directorate.

# Preparation

The second step in the inspection process is to ensure adequate preparation is carried out in advance of carrying out any inspections.

The key elements include:

Inspection date and notification

Inspection scope, which includes the purpose and agenda

Associated legislation, guidance, RGP etc.

Travelling safely on official business (ONR-HSW-GD-004) [11]

Working safely at site (ONR-HSW-IN-005) [12]

Personal Protective Equipment

Official Notebook, forms, notices and templates etc

Warrant and Official identification - i.e. passport/driving licence

Suitable time and attention should always be given to preparation for inspections. This typically should start between one and two months ahead of the inspection date, for SBI / themed inspection timeline refer to table 1 in Appendix 2.

## Preparation for emergent inspections

Unplanned ‘reactive’ inspections typically arise due to emergent issues, events and regulatory intelligence. In these instances, the time available for preparation may be reduced, but to ensure we deliver our regulatory outcomes we need to plan sufficiently.

As a minimum it is expected that the Inspector leading the intervention will consult with the relevant NSI or HoR to check that you are aligned in relation to the scope and outcomes of the inspection.

## Choosing times and dates

Typically an inspection will last anything from half a day to a few days depending on the complexity of the scope. This should allow sufficient evidence to be gathered to objectively evaluate a rating (Appendix 1) and support the Inspectors judgement. If a single inspection is going to take longer than a couple of days discuss with the relevant NSI or HoR.

The preparation stage should identify a suitable inspection date and time with built-in flexibility. Key considerations include availability of regulatory and dutyholder resources, scheduling conflicts, plant status, site location, and relevant activities that may impact timing. The Lead Inspector must communicate these factors to agree a date, and confirm that the planned inspection remains appropriate. Also at this stage consider has anything changed from planning, is this still the ‘RITE’ [13] inspection to be doing?

## Scope

The inspection scope should be defined during preparation and recorded on WIReD, clearly stating the aims and reasons for targeting the inspection. When developing the scope, consider factors such as operating experience, dutyholder activities and the site’s inspection and enforcement history related to the inspection focus.

Information including previous intervention/ inspection records, regulatory issues and incidents should be considered to determine if there are any relevant matters for the planned inspection. A review of the safety documentation, security plan, transport plan, accountancy and control plan or other dutyholder arrangements should form part of the preparation stage where applicable.

Reviewing existing compliance information in advance of arriving on site significantly improves the efficiency and effectiveness of the inspection. 
If you are carrying out an inspection with other inspectors also be clear about the preparation activities and expectations so they can plan their time on the run up to the inspection. Inspectors may also consider consulting with the directorate and organisational learning function to inform the inspection scope.

Relevant information should be requested by the Inspector in good time before the site inspection date. This documentation should come from the dutyholder. If you do not receive the requested information to the time requested, contact the dutyholder immediately to understand what the delay is and when it will arrive. Flag this to the relevant NSI for their information.

The Inspector should carefully consider what documentation is obtained and how it is subsequently managed. Generally (for inspection preparation purposes) most of the dutyholder’s documentation that is managed and retained by their statutory obligations does not also need to be retained by ONR. The Inspector should also take due cognisance of the requirements of information security when managing documentation

Key information to extract from the compliance arrangements and plans etc. should include an understanding of; claims made on plant and equipment; safe systems of work; and people relevant to the inspection to be undertaken. This will support identification of where to seek evidence of the implementation of the arrangements. Preparation for an inspection should include a discussion or communication with the NSI to establish any relevant regulatory site context to inform the inspection scope.

The current regulatory intervention strategy for the site/dutyholder 
(including any ongoing enforcement activity) is an important factor to consider when preparing an inspection scope. Care should be taken to avoid the potential for an inspection to inadvertently undermine on-going enforcement, investigation or other regulatory activity / strategy.

A well-defined inspection scope is important, but flexibility is necessary during the inspection itself. Inspectors work on a sampling basis and may need to seek additional or alternative evidence not anticipated during preparation. The scope should therefore allow for adjustments to address conditions encountered on the day.

ONR guidance is available for most inspection topics under the TIGs. Inspectors should also consider relevant guidance from other regulators or international bodies, such as the HSE, environment agencies, or the IAEA. Inspectors should use relevant guidance, in conjunction with their knowledge and experience of relevant good practice, to develop an understanding of the compliance standards that are expected.

A scope for the inspection should be developed by the lead Inspector and shared with the dutyholder contact, preferably via WIReD. Early issue of the proposed inspection scope along with details of any specialist Inspector disciplines supporting it allows the dutyholder to ensure the appropriate resources are available and plant, facilities and equipment are accessible and in a suitable condition for inspection. For this purpose, the dutyholder can and may suggest changes to the proposed scope.

The scope should be guided by maintaining the wider interests of safety and security whilst ensuring an effective inspection can be completed. It is good practice to “agree” on the inspection agenda with the dutyholder contacts before the delivery stage and clarification of regulatory expectations on the day of the inspection. Do not be too prescriptive at this stage, for example, sharing question sets, as the inspection may change when carrying it out and the dutyholder may challenge why we didn’t follow the agreed plan.

A proportionate approach should be taken for inspections of small to medium enterprises in the non-civil nuclear sector (for example, those with limited involvement in the transport of radioactive material; Qualifying Nuclear Facilities with Limited Operation). In such cases, advanced provision of a minimal scope, listing the documentation to be made available during the inspection, should suffice.

## Inspection checklist

The checklist below is considered to be the minimal level of preparation:

Prior engagement with the dutyholder (including access and level of security clearance e.g. NNPPI) and dutyholder regulatory liasion if relevant;

Pre-job briefings for ONR intervention team and communication with NSI;

Familiarisation with the relevant health and safety management system controls for travelling safely on official business and working safely at site.

Arrangements made for personal protective equipment (PPE) and dosimetry, and;

Official notebook, warrant and any other equipment/information as required (e.g., actions to take in the event of incident occurring during inspection, blank notices, inspection rating appendix).

# Delivery

## Personal safety and security

Under the Health and Safety at Work etc Act 1974 (HSWA), the dutyholders / sites you visit are responsible for controlling the hazards associated with their work activities and mitigating the risk of harm to visitors so far as is reasonably practicable.

To mitigate the risk of harm occurring, you should familiarise yourself with their arrangements, type of access (escorted or unescorted), follow instructions and wear PPE as appropriate. The inspector should enquire around operations ongoing in the facility during the inspection, any particular hazards and any local or temporary rules that they should be made aware of.

ONR has duties to provide you with sufficient information, instruction and training to enable you to dynamically assess the environment you are in and take the appropriate action to mitigate the risk of harm occurring. This is achieved through:

Information contained within the Our Health and Safety pages in relation to site inspection, lone working, personal safety and personal protective equipment.

Generic risk assessments and guidance for travelling safely on official business and working safely at site, and

ONR Academy health and safety training for inspectors, and safe driver training

All ONR staff are responsible for following ONRs arrangements to support safe working practices, reporting incidents which occur during the course of your official duties, and completing bespoke risk assessments as directed by the management system.

You are empowered to STOP an activity if there is reason to believe that it may be or may become unsafe.

ONR Inspectors should adhere to ONR’s Information Security Policy [14]. Inspectors should also ensure that they are familiar with and follow the dutyholder’s procedures for information and physical security and comply with procedures for entry to and exit from the site.

The necessary authorisations for taking laptops, mobile phones, cameras and other equipment on dutyholders premises / site should be obtained when required. Any difficulties encountered that may compromise ONR’s functions should first be resolved with the site and/or escalated through the relevant SI / HoR before considering the exercise of Inspector’s warranted powers.

Inspectors should ensure that they are aware of and follow procedures for the control of the dutyholder’s information. Documents and records should only be requested and retained in ONR’s information systems where necessary for the purposes of ONR’s regulatory business.

Often documents are offered by the dutyholder, but before accepting ensure you know why you would use this information. At best ONR are taking on the risk related to the safe keeping of the documents at worst it is tacit acceptance of the document contents in their entirety. So where you can, take the evidence you need from the document, note it and the document reference and version down and leave the document with the dutyholder.

## Values and behaviours

The way ONR conducts its inspections is an important factor in how we are able to influence improvements to safety, security and safeguards. 
Our behaviours set the tone and underpin how we deliver our vision and mission. Inspectors should embrace ONR values with each other, our stakeholders and the public. Inspectors are to act in a professional manner with due cognisance to the Regulator’s Code [15], ONR’s Enforcement Policy Statement [16], Risk Informed and Targeted Engagement Policy [13] and enabling approach [17].

It is a training requirement for new Inspectors to undertake the ‘N6 – Effective Regulation’ course. This is to develop the underlying knowledge, understanding, skills and behaviours of ONR Inspectors to enable them to carry out their role effectively and support ONR in meeting its obligations and mission as an effective independent regulator.

When identifying non-compliance, Inspectors should first seek the dutyholder’s perspective, then clearly explain the issue, required actions, and supporting reasons. Dialogue is encouraged to ensure proportionate and consistent actions, but Inspectors should avoid prescribing specific solutions.

The paragraph above does not apply where in the Inspector’s opinion immediate enforcement action is required to prevent or respond to a serious risk or breach of RSP’s (for example, Risk of Serious Personal Injury (ROSPI)).

ONR’s Enforcement Policy Statement sets out how ONR will undertake its regulatory business. The principles of enforcement (i.e., proportionate, targeted, consistent, transparent and accountable) apply to all of our regulatory activities:

Proportionality - Be proportionate when applying ONR guidance, when determining relevant good practice and when making regulatory decisions.

Targeted - Target the most significant risks and hazards for the greatest attention.

Consistency – Have a similar approach in similar circumstances

Transparency - Be transparent when explaining your expectations for compliance and distinguish between relevant good practice (the legal standard) and best practice. Offer advice to enable compliance.

Accountability - Be prepared to account for your regulatory actions and judgements to ONR management, the dutyholder and other stakeholders.

The expectations of the Regulators Code should also be evident:

We should carry out our activities in a way which supports those that we regulate to comply and grow.

We should provide simple and straightforward ways to engage with those we regulate and hear their views.

We should base our regulatory activities on risk.

We should share information about compliance and risk.

We should ensure that our approach to our regulatory activities is transparent.

## Team working

Inspections are carried out by individual ONR Inspectors or teams, sometimes including staff from other regulators or advisory bodies. The lead Inspector should set clear expectations and brief the team on regulatory duties and primacy before the inspection.

Whilst the team may wish to act together during aspects of the inspection, for the sake of efficiency it may be appropriate to provide separate feedback at the closing meeting. It is also good practice to agree details in advance for inspection recording, such as team contribution for the production of the Inspection Record.

In all above cases, ONR is expected to complete its own Inspection Record in accordance with the Inspection process to record our judgements.

## Opening meeting

On arriving at dutyholders premises / site be cognisant of what is happening around you. Maintain good situational awareness as you travel to the opening meeting.

Inspection typically follows a structure consisting of an opening meeting, discussion and review of compliance arrangements, plant/equipment inspection, resolution of outstanding queries, information requests, evaluation of compliance rating, reporting of findings and close out meeting.

The opening meeting should be with an appropriate level of dutyholder representative (often senior management), do take the time to understand peoples roles and to enable you to record their names and roles accurately.

It is expected that the Lead Inspector provides some legislative context for the inspection, covering the aim of the inspection and clarify any matters regarding its purpose. This meeting also provides opportunity to review the scope and content of the inspection and incorporate any necessary changes to the agenda.

It is good practice to identify a representative from the dutyholder who will act as the central point of contact throughout the inspection. They would be expected to capture and action any requests such as queries raised, information / document requests, or other areas for follow up identified during the course of the inspection.

## Inspection

Inspections are primarily undertaken to judge compliance with relevant legislation and provisions.

An effective approach to adopt during the inspection is to use a balance of open and closed questions, to gain assurance of the dutyholder’s comprehension of the subject matter (for example, ‘Tell me, Explain, Describe’). However, care should be taken not to “lead” the dutyholder towards particular responses or be allowed to stray too far away from the matter in question. Consider the amount we are saying versus the dutyholder, we should be more in listening and observing mode.

Throughout the inspection delivery stage, the Inspector should be evaluating compliance and be cognisant of the Enforcement Management Model (EMM) [1]. There are regulatory decisions being made throughout the inspection where you are weighing the significance of what you are seeing and being told against standards and taking into account the context of the site / dutyholder.

Notes should be taken during the inspection to form an accurate account for the purposes of producing a Record on WIReD. It is important to consider that any records produced by Inspectors for the purposes of undertaking regulatory functions may be considered an official record and Inspectors should refer to the notebook guidance in Appendix 5. Inspectors should carry an official notebook when undertaking compliance inspections, it is recommended to use the official notebook for inspections especially whilst in operational areas of the site.

Copies of records and documents provided by the dutyholder in support of the inspection, such as job cards, work instructions, procedures etc. should only be retained by ONR for the period necessary to complete and document the inspection.

## General facility surveillance and plant walk-downs

NSIs or lead inspectors visiting licensed nuclear sites should consider setting aside time, typically half a day, for general site or plant walk-downs and interaction with site staff and support contractors etc. The aim is to gain an overall impression of the prevailing site culture, the site material condition and develop intelligence, use your knowledge to target areas to maximise value. Consider observing aspects such as:

Work or shift handovers;

Control room operations;

Routine meetings e.g., incident screening, operational focus;

Controlled area boundary integrity;

Conditions of fire barriers;

Defect and leak management;

Talking to workers, safety representatives, managers and supervisors to gain their perspective;

Foreign material exclusion practices;

General housekeeping e.g., use of lay-down areas; storage of flammable materials

Management presence or visibility;

Material condition of structures, system and components;

Emergency preparedness and response related facilities/ equipment;

General site culture.

It is important that all Inspectors understand and acknowledge the extent and limit of their own competence and knowledge. Inspectors should only provide advice and make regulatory judgements on matters where they are suitably qualified to do so and which are within the ONR’s and the individual’s scope of authority. Inspectors should seek the advice and counsel of other specialist or purpose Inspectors where necessary.

Inspectors may have individuals raise concerns, whistleblowing (protected disclosures), and complaints either verbally, or via letters, emails or through ONR and HSE general contact enquires route. The process for dealing with each of the matters is different and it is important that the Inspector establishes the nature of the subject so that it is dealt with through the correct process.

If the Inspector is in any doubt, they should contact ONR Policy team and seek further advice. For each of these processes, it is important that they are either routed or logged via ‘Contact ONR’. Further guidance is available in ONR-WB-PROC-001 [18].

## Communication

Throughout the inspection, engage in ongoing discussions with the dutyholder to highlight good practices, address improvements, and clarify actions to be taken. Use clear, three-way communication and aim to agree on actions before the closing meeting to minimise surprises or disputes.

If the inspection spans over the course of a number of days, it is good practice to have a ‘wash up’ meeting at the end of each day to identify and communicate any potential matters requiring action.

## Evaluation of compliance

To enable regulatory decision making, the Inspector/ team should take some time away from the dutyholder to review inspection findings and evaluate compliance intervention rating and frame ONR’s response.

The Inspector should use the ONR inspection rating system (Appendix 1) guidance to support the decision based on their judgement, supported by the sample of evidence reviewed at the time of the inspection (i.e., “on the day”). In providing feedback use the wording explicitly from the inspection rating system to be clear and consistent.

The Inspector should have adequate evidence to objectively support the intervention rating. Where the rating is borderline, it is advisable to state that it is provisional until internal governance is complete. Since inspections are a snapshot in time, if the dutyholder wishes to provide contrary evidence, this must be submitted promptly (ideally by the next day), otherwise the original findings will stand.

The ONR inspection rating is calibrated to provide an objective measure of compliance based upon a planned inspection (which included a suitable preparation stage). As such, it is not generally appropriate to assign a rating against reactive activity or inspections of a limited nature i.e., a small sample of evidence. There are some exceptions to this such as where substantive work has been done to identify an underlying compliance gap.

During this time, the lead inspector should also determine how the feedback at the closing meeting will be given. If in a team meeting, ensure that once the conclusion has been given, nothing further is added from ONR inspectors which could undermine the impact of the conclusion.

## Closing meeting

The inspection should typically conclude with a closing meeting, again with an appropriate representative of the dutyholder organisation, this should include someone with the authority to act in response to any regulatory action needed.

The Inspector should provide ‘hot’ feedback of the inspection findings and the evaluated inspection rating, noting whether this is provisional. It is important to be clear over the standards against which dutyholders are being judged especially when these are target driven rather than absolute.

If the inspection has been performed collaboratively with other regulators or the dutyholder internal challenge function, the Inspector should take care to ensure ONR’s independence is maintained, and our statutory enforcement obligations are met.

It is good practice to provide feedback as a balanced account of the inspection, any positive feedback should be given in addition to identifying any potential compliance gaps. The feedback should be clear on the ONR response to the inspection including the expected action (as detailed in the Inspection Rating Guide in Appendix 1), for example, ‘No formal Action, Seek or Demand Improvement’.

It is good practice to seek feedback from the dutyholder regarding the performance and findings of the inspection. Constructive feedback may assist the effectiveness of intervention practices, and any significant observations should be communicated back to the relevant NSI or HoR.

## Dealing with incidents while on site

There is comprehensive guidance on how to deal with a Matter of Evident Concern and Potential Major Concern [19]. Please be aware of this guidance before attending site.

There is a potential for a site incident to occur when an Inspector is on the site. The following guidance provides some general advice on how Inspectors may initially act in response; however, judgement will need to be exercised depending on the specific circumstances of the incident.

Inspectors should follow the site emergency arrangements, which may include taking shelter, evacuation, lock down, muster and roll call.

The inspector should contact the relevant HoR to inform them what has happened and let them know they have followed the site arrangements. 
If taking shelter, provide your name and inform the dutyholder you are with ONR upon.

If agreed with the Redgrave Court Incident Suite (RCIS) Director or HoR and only if it is safe and appropriate to do so, the Inspector may attend the site emergency control centre to monitor and record decisions and activities undertaken by the response staff.

During the incident response phase, the Inspector should be cautious of taking any action that might unduly interfere with or distract from the site’s command and control function and procedures, as set out in the approved onsite emergency plan. The Inspector should prepare to provide regular briefings to the RCIS (or if this has not been stood, up to the HoR) regarding activities, plant status, information and matters of interest that may be relevant.

# Record

## General

WIReD is the application ONR use to capture key information arising during the inspection. The WIReD inspection planning, delivery and recording process is shown in Figure 1.

Figure 1 - Inspection planning, delivery and recording process as configured in WIReD.

Use the WIReD help function to support the completion of the record. Inspectors are responsible for the timely progression of records through each of the inspection stages.

A WIReD inspection record must be produced for all inspections given a rating except for prospective licensees, prior to Nuclear Site Licence (NSL) application and grant, where the rating may be recorded within a Contact Record (CR) and not subject to publication prior to an NSL application.

Where an intervention does not form part of an inspection being rated, for example, regulatory exchanges or information gathering exercises this does not need to be recorded in the WIReD Inspection process. Other suitable means such as the WIReD CR process may be used in this instance.

The information recorded within WIReD Inspection workflow should form a complete and succinct ‘record’ of the inspection, with sufficient evidence. The record is not intended to act as an Inspectors’ notebook nor an aide memoire for matters not pertaining to the inspection.

The record should be balanced and capture the salient points which underpin the Inspector’s judgement on the inspection rating. As well as potential compliance gaps and regulatory issues the record should capture any areas of good practice. Ensure that the inspection record covers the ‘so what’ of findings so the gravity of these can be understood and links through to any potential regulatory issues or enforcement.

The record should also identify any specific regulatory guidance (and relevant good practice) that has been used for assessing compliance during the inspection (for example, relevant TIGs, Approved Codes of Practice (ACOPs), etc), ensure that this is within the references tab.

As part of their approval of the record, the approver is to consider the extent to which they should sample the record content, with the specific aim of confirming the adequacy of evidence, the line of sight back to legal standards, and the clarity and accuracy of communication of regulatory expectations (where appropriate).

Executive summaries are routinely published on the ONR website (where protective classification allows). Extracts of inspection records are routinely shared with dutyholders, usually via the WIReD dutyholder portal or by email (for non-licensed sites or smaller dutyholders) to check for factual accuracy and the full report often for information only.

To support accurate management information inspectors should check back on inspection records to ensure that they are showing as closed.

## Guidance on tone and content

The publication report is normally shared with the dutyholder to perform a factual accuracy prior to publication (not for the purposes for reopening judgements made by the inspector). Security inspections are not published. The tone should be objective, balanced and open-minded. The following points should be considered:

The use of emotive language should be avoided;

Unnecessary comment should not be made on the dutyholder’s general capability or performance unless relevant to this interaction;

Reference should be made to organisational positions rather than individuals;

Care should be taken regarding potential security issues such as combining building functions, location, vulnerability etc;

No reference should be made to commercially sensitive information/sensitive nuclear information;

If necessary describe that documentation was sampled but does not need to refer to the specific title and reference/revision number.

Care should be taken to ensure dutyholders’ reputation is not unnecessarily questioned;

Excessive use of acronyms and technical jargon should be avoided;

Alignment to ONR Style guide [20].

# Follow-up

In general, the follow up of inspection findings is managed through the regulatory issue management process and Directorate governance arrangements including feeding back into the planning process and associated intervention strategies.

However, for ONR to be an efficient and effective regulator it must be a learning organisation. Inspectors should be cognisant of the key activities in ONR that contribute to learning and in particular reflect on inspection findings and activity to support ONR’s organisational learning and future inspection targeting.

This could include discussion of the inspection with colleagues who have experience in similar matters, or a review of the guidance used during the inspection, including relevant TIGs, ACOPs and ONR guidance documents, including this guide.

# Appendix 1 – Inspection ratings guide

To use this guide, Inspectors should identify applicable indicators from the list based on their inspection findings. Then select an appropriate rating which is the best fit, overall. The majority of dutyholders should be operating predominantly with a rating of Green.

| Indicative Inspection Findings | Rating | ONR Response |
| --- | --- | --- |
| Relevant good practice generally met, or minor shortfalls identified, when compared with appropriate benchmarks. Legal duties complied with, although there may be minor contraventions of specific administrative requirements. No significant shortfalls identified in the delivery of safety, safeguards or security functions. Relatively minor, if any, deficiencies in compliance arrangements. Minor failure to implement, compliance arrangements. Only limited opportunities exist to fully reduce risks to ALARP or enhance security measures. There may be some examples of good practices which have been observed and recorded. | Green | No Formal Action Provide feedback at the closeout meeting on the rating and key points from the inspection to be recorded in the IR. If appropriate, provide regulatory advice on how to address any identified areas for improvement. Expect the dutyholder to address any identified improvements and manage resolution via their internal management controls. Make a Level 4 Regulatory Issues Database entry for minor compliance shortfalls, if necessary, to monitor dutyholder progress. Record any examples of good practices in the IR and acknowledge these to the dutyholder. Record advice given regarding continuous improvement and good practices. |
| Significant shortfall against an identified relevant good practice when compared with appropriate benchmarks. Specific legal requirements not met, but without prejudice to overall nuclear safety, safeguards or security objectives. Inconsistent standards for managing risks to workers; with some key relevant statutory provisions not met. Specific significant weaknesses identified in delivery/implementation of safety case requirements. Significant or systematic failure to implement or meet compliance arrangements. Failure to maintain approved security arrangements, but with principal barriers remaining intact. Deficient arrangements for compliance with legal requirements. Systematic failure to comply with administrative legal requirements. | Amber | Seek Improvement Provide feedback at the closeout meeting on the rating and key points from the inspection to be recorded in the IR or other record. Identify and discuss any significant shortfalls with the dutyholder, at an appropriate level (someone with the authority to act). Review the shortfall(s) against the EMM [1]. Dependent on the EMM review output make one or more Regulatory Issues entries at Level 3 or above on WIReD and linked to the inspection to log the enforcement communication and to track progress. Follow-up and close out the Regulatory Issue when complete. |
| Absence or failure of one or more principal barriers claimed in the safety case. Major failure to maintain arrangements in the approved security plan. Shortfalls in safety or security requirements resulting in significant avoidable risks to the public or workers, generally with at least one contravention that gives rise to a discernible risk gap under the EMM. Major non-compliance with defined or established standards necessary to ensure safety, safeguards or security. Failure to deliver improvements previously identified in ONR enforcement communications. Persistent failure to meet administrative legal requirements, multiple warnings having been given. | Red | Demand Improvement Provide feedback at the closeout meeting on the rating and key points from the inspection to be recorded in the IR or other record. Raise the identified shortfall(s) with the relevant dutyholder leadership and note the potential for enforcement action. Draw the matter to the attention of the relevant Head of Regulation. Review the shortfall(s) against the EMM [1]. Dependent on the EMM review output make one or more Regulatory Issues entries at Level 3 or above on WIReD and linked to the inspection to log the enforcement communication and to track progress. Consider if a holding to account, or similar meeting, with the dutyholder is appropriate. Plan and execute a follow-up inspection. Close out the Regulatory Issue when complete. |

# Appendix 2 – Guidance on different types of inspections

## Appendix 2A – Compliance inspections

Each Directorate / Sub directorate should set out the way in which they intend delivering compliance inspections related to our purposes, with the targets and frequency of planned compliance inspections being proportionate to the risks and hazards from the relevant dutyholders and upon the regulatory intelligence, RITE informed [13].

Compliance inspections are one element of a number of regulatory activities that can be deployed to achieve regulatory outcomes, and compliance inspection should be deployed only where their impact is considered the most effective and efficient method of achieving our regulatory aims.

Planned compliance inspections are identified through ongoing reviews of site or dutyholder performance, or as part of the annual operational planning process. These inspections are managed in the WIReD regulatory database and formally approved by the relevant sub-directorate. There is no set minimum frequency for compliance inspections; the need for inspection and any multi-year framework should be determined by the relevant sub-directorate with appropriate justification.

As part of any compliance inspection, there will be a requirement for the inspection to focus on the correctness and completeness of regulatory submissions (for example, nuclear material accounting reports and their underpinning source information) and the adequacy of the arrangements (much of this being done in the inspection preparation stage) as well as their implementation (which requires being at the site).

## Appendix 2B – Themed inspections

Compliance may also be assessed through themed or cross-cutting inspections, especially when regulatory interests span multiple compliance areas. An overall rating can be recorded in WIReD. These inspections are valuable for reviewing multiple sites under the same organisation, or wider topics such as safety documentation, organisational learning, and emergency preparedness.

Such inspections may be cross functional in nature. For example:

Conduct of Operations. Such inspections typically embody aspects such as plant status control (LC 23 and LC 27), planning and sequence of maintenance to manage nuclear risk (LC 28) and safe execution of work through appropriate operating instructions (LC 24) and control and supervision (LC 26) of operations by suitably qualified and experienced persons (LC 12).

Safeguards measurement systems for nuclear material accountancy purposes. Such inspections follow the flow of nuclear material through a qualifying nuclear facility or material balance area, ensuring that the systems are adequate for safeguards related measurements, they are maintained appropriately and operated by trained personnel, measurement uncertainties are established and understood, and good quality records and reports are generated.

Cyber security governance. Such inspections may include Cyber security and information assurance strategy; risk management; roles and responsibilities and culture.

The following set of principles help directorates and inspectors in planning and executing cross-cutting or themed inspections:

Planning themed inspections

Appointing a lead inspector for themed inspections across multiple sites or facilities ensures consistency and keeps the inspection focused on its intended outcomes. Using the same inspection team across locations can improve continuity. Directorates should consider the scope and depth of these inspections, adapting plans based on results from earlier inspections to address common issues or themes.

Execution of themed inspections

Themed or cross-cutting inspections are cross-functional, integrating site inspectors and relevant specialist inspectors. They may also be adapted to undertake an inspection across more than one of ONR’s core purposes.

Themed inspections benefit from 2-4 inspectors allowing the topics to be divided into sub inspection teams to optimise inspection coverage.

Themed inspections enable substantial intelligence to be acquired in a consistent manner on an individual site or group of sites. This provides a greater evidence base than individual compliance inspections and often provides a greater ability to influence improvements.

## Appendix 2C – System based inspections

System Based Inspections (SBI’s) are a type of themed inspection. SBIs consist of a series of inspections to establish how the basic elements of a site or facility’s safety case or accountancy control plan are implemented in Systems and Structures (SS) and fulfil their functional requirements. These types of inspections are a useful regulatory tool for testing a dutyholders implementation of their safety case and its key claims important to safety or accountancy control plans for systems important to safeguards.

The important factors in utilising a SBI type inspection are:

SBIs should be defined. List of active SBI Lists is provided within WIReD SBI Lists Active SBI Lists - Power Apps.

SBIs should be planned to provide consistent coverage aligned with the broader sub-directorate strategy, and may target specific dutyholder activities e.g. tailor and target the SBI plan so that prior to shut down for defueling the relevant systems are targeted.

SBIs look at the implementation of the safety case for systems important for safety.

SBIs look at the implementation of the accountancy control plans for systems important to safeguards. For those carrying out Safeguards SBI please refer to the specific guidance [7].

SBIs may align with aspects of the Security Plan (SP) and this may form part of the scope to determine that the SP arrangements will fulfil their security functional requirements.

The SBI team configuration can flex dependent on the complexity / scope of the system being inspected.

There is flexibility in the ‘standard’ (see below) LC’s considered, however if there are significant changes in the sites activities (e.g. decommissioning a reactor) consider if another type of thematic inspection will be better suited to the regulatory outcome being sought.

If this is the first time you are leading on a SBI, please seek coaching from fellow inspectors who have recent experience.

Undertaking nuclear safety SBIs

Preparation

Do not underestimate the time needed to prepare for an SBI. To get the most value from a SBI the team needs to understand the safety case/function of a system, have selected a scope and targeted the evidence being sought. There is a timetable for an SBI shown in Table 3.

The inspection team should identify beforehand the relevant aspects from the safety case that will allow them to determine whether the Safety SS (SSS) will adequately meet its safety functional requirements. The inspectors are required to form an overall judgement as to whether the SSS adequately fulfils the requirements of the safety case.

It is not the purpose of an SBI to challenge the validity of the safety case for the SSS and the associated arrangements. Its purpose is to assess the adequacy of the implementation of the associated arrangements. However, should safety case shortfall and associate arrangements be identified during the SBI these should be notified to the dutyholder.

The adequacy of the implementation of the associated arrangements should be sampled in relation to the following Licence Conditions (LC):

LC 10 – Training: The SBI should establish whether SSS owners, operators and maintainers are adequately trained in the oversight, operation and EIMT of the SSS.

LC 23 – Operating rules: The SBI should establish whether the limits and conditions identified in the safety case for the SSS are being adhered to.

LC 24 – Operating instructions: The SBI should establish whether operators and maintainers are provided with adequate written instructions relating to ensuring compliance with the limits and conditions defined in the safety case for the SSS.

LC 27 – Safety mechanisms, devices, and circuits (SMDCs): The SBI should establish whether the SSS is properly connected and in good working order.

LC 28 – Examination, instructions, maintenance and testing: The SBI should establish whether the SSS is being adequately examined, inspected, maintained and tested to sustain the required integrity defined in the associated safety case.

LC 34 – Leakage and escape of radioactive material and waste: The SBI should establish whether radioactive materials, liquids, sludges, gases etc are leaking / escaping from the SSS and whether adequate containment is provided.

Note that there can be some flexibility in relation to the LC’s as LC10 and 12 can be closely linked; as part of the scope you may want to examine the LC26 elements of work associated with a particular SSS or LC36 organisational capability aspects and LC34 may not be applicable. This flexibility can be articulated in the inspection scope.

Table 3 - SBI timelines

| Point in Time | Activities Expected |
| --- | --- |
| X – 8 Weeks | ONR to confirm actual date of the SBI and details of the system to be inspected. - Typical SBI structure is Introduction of the system, Safety Case overview, plant walkdown, LCs, wash-ups, ONR judgement. - Ensure that you have named dutyholder individuals and locations for agenda time slots and leave space in an agenda to move around the site, access or for things to flex. |
| X – 4 Weeks | ONR hold pre inspection scoping meeting with ONR specialists - The types of documentation being sought to support preparation are samples of the maintenance, testing, operating, training and safety case relevant to the defined system being inspected. |
| X – 3 Weeks | ONR proposed technical input to the SBI plan for the intervention: - Identification of the key technical areas that merit inspection (determination of inspection scope - Identification of the safety functions - Safety case claims relating to system performance (LC 23, 27 and 28) and identification of relevant Operating Rules, Safety Mechanisms, Devices and Circuits, EIMT schedules etc. - Safety case claims relating to availability and reliability (LC 23, 27 and 28 related) and identification of relevant Operating Rules, Safety Mechanisms, Devices and Circuits, EIMT schedules etc. - Safety case claims on Operator Actions (LC 10 and 24 related) and identification of training requirements and Operating Instructions. - Identification of the barriers required to contain radioactive material and radioactive waste (LC34 related). - Areas of plant to be subject to physical plant inspection. |
| X – 2 Weeks | ONR distribute the SBI plan for review and agreement with the dutyholder. - Potential to hold a pre-inspection meeting with the dutyholder to ensure understanding of the SBIs purpose and scope. |
| X | Date of Inspection |

Inspection

During the inspection you will likely interface with a number of dutyholder roles to ascertain the evidence required to make the judgement. For example system owners, engineering, operations, maintenance, independent nuclear assurance, security personnel.

The inspection will likely span a few days, so having a wash-up at the end of each day is useful to keep on track of the progress and findings.

The purpose of a SBI is to confirm that a system is capable of delivering it’s function. This judgement is the key outcome. Other inspection findings should be appropriately sentenced and followed up. It is quite possible to find several deficiencies but still judge that the SSS meets the requirements.

## Appendix 2D – Chief Nuclear Inspector inspections

Chief Nuclear Inspector (CNI) inspections are a specific type of themed inspection that are identified and commissioned by the CNI. The purpose of these inspections is to inform the CNI’s position on regulatory matters that are of a strategic nature. 
For example, having high current or potential safety or security significance, or having the potential to adversely impact public confidence. CNI inspections are focused and targeted on a specific regulatory matter.

CNI inspections will usually involve engagement at a senior level and may involve multiple sites and dutyholders, as well as other stakeholders with an interest in the matter being inspected. They may, where necessary, include visits and engagement internationally.

Consequently, CNI inspections will be led by a senior warranted ONR inspector who has been identified by the CNI for this purpose and will be accountable for effective delivery of the inspection. The lead inspector will be supported by appropriate specialist inspectors as appropriate.

ONR’s Technical Directorate will provide independent oversight of all CNI inspections. Examples of where the CNI may choose to commission a CNI inspection include:

UK nuclear industry response to national and international events;

Informing potential changes to levels of Regulatory Attention published in our Annual Report and Accounts;

Inspection of international supply chain partners supplying significant nuclear safety or security equipment;

As a means of informing closure of a Level 1 Regulatory Issue.

Undertaking and Reporting CNI inspections

To ensure that the scope of the CNI inspection is targeted and proportionate, the CNI will define terms of reference for the inspection.

The lead inspector, in cases where the CNI is not the lead inspector, will work with the Technical Director (TD who will act on behalf of the CNI) for agreement for the scope of the inspection.

The findings and outcomes of the CNI Inspection are recorded in an IR (WIReD process). In view of the unusual nature of the IR and associated Contact Records (CRs), the usual timescales and processes for finalising the record may not apply.

The CNI may sanction the production and subsequent publication of additional reports, separate from the IR, to describe the CNI inspection. In such cases, only the IR Executive Summary will be published on the ONR website. Bespoke arrangements and timescales for governing the publishing of additional reports will be agreed by the CNI.

## Appendix 2E – Readiness inspections

Readiness Inspections are a specific type of a themed inspection. The purpose is to build regulatory confidence in a dutyholders ability to conduct new activities, implement modifications or provide assurance that EMIT activities have been satisfactorily progressed to consent restart e.g. a reactor following an outage. It is most often used as a regulatory tool associated with permissioning activities.

The intent, broad scope and resource required should be documented as part of the permissioning strategy and agreed with the HoR, the inspection should be recorded in WIReD as normal and linked to the permissioning record. The lead inspector for the readiness inspection should ensure that the NSI is informed so that any synergies with the wider inspection plan can be established.

Within their permissioning strategy, inspectors may determine it is proportionate that a readiness inspection is:

along with an assessment sample of relevant documentation. The inspection is an enabler for specialist inspectors to target significant claims within safety or security documentation have been implemented and can achieve their function as well as ensuring that the people, plant and processes needed for the activity are in place, or;

is the main aspect of the permissioning decision e.g. similar safety case has been assessed previously, or that the claims on people are the most significant aspect.

In relation to timings for readiness inspections they should be carried out when the dutyholder declares that the evidence being sought is ready for inspection 
(this should be based on the dutyholders own governance) and as close to the required permissioning release date as reasonably practical, this is guidance though and should be treated with flexibility in relation to the circumstances.

ONR should conduct inspections after the dutyholder’s internal regulatory oversight is complete and any findings are addressed, supporting the internal challenge process. It is important not to undermine the dutyholder’s governance or challenge function, especially when timing is critical. If readiness timescales slip, coordinate with HoR or NSI and delay inspection until dutyholder governance is concluded.

Readiness inspections should look at a proportionate and targeted sample of the implementation of the safety case associated with people, plant, and process. 
The readiness inspection may include specialist inspectors.

Examples of areas to sample are given below;

People

Are Roles and Responsibilities adequately defined?

Have the control and supervision activities been implemented?

Have sufficient people completed their training?

Do interviews with key operations personnel demonstrate a comprehensive understanding of safety case claims / requirements and that training objectives have been met?

Are there strong lines of accountability for issues which are clearly described?

Do individuals know what to do if there is an issue?

Plant

Has the appropriate level of management and oversight been applied?

If applicable, are the commissioning schedule and criteria adequate, are there any significant outstanding issues?

Has the dutyholder adequately implemented its arrangements for managing technical queries (TQs) and concessions?

If applicable, are the commissioning results signed off as acceptable?

Has planned scope of maintenance and emergent work been completed?

Is plant labelling adequate?

Is there relevant OPEX available?

Are plant systems configured correctly in accordance with safety case claims, including correct setting of set-points and calibration?

Is the examination, maintenance inspection and testing schedule up to date and consistent with the safety case?

Have you completed a plant walk down to assess plant condition?

Process

Is the safety case implementation complete or sufficiently close to completion?

Have instructions been prepared by SQEP personnel and completed due process (operating rules / safety case assumptions / emergency arrangements)

Have emergency arrangements been tested? What was the outcome and have shortfalls been addressed?

Are new limits and conditions recorded in a clear and unambiguous manner in relevant plant documentation and ready for implementation? Can operating rules be physically complied with?

Is there an adequate configuration management process from safety case through to operating instruction, operator training and competence assurance?

Has the Internal readiness review completed and have any resulting actions been resolved?

Has the governance completed and any issues been resolved?

# Appendix 3 – Guidance for interaction with internal challenge function

ONR Technical Assessment Guide - ‘Nuclear Safety Advice and Challenge’ 
(NS-TAST-GD-080) [21] - outlines ONR’s expectations for dutyholders to provide effective nuclear safety advice and independent challenge across their organisations. The guidance applies to advice and challenge both on and off the licensed site, and is relevant to staff, contractors, and key supply chain partners involved in delivering goods and services to the dutyholder.

ONR recognises that dutyholders will develop different approaches to delivering effective advice and independent challenge however each dutyholder should be able to demonstrate how it has satisfied itself that its approach is appropriate.

ONR Inspectors should act in a way that supports and strengthens dutyholders’ self-regulatory processes rather than provides a substitute for them. 
The lists below set out a general set of guidelines for interaction with dutyholders internal challenge function, for purpose of this guide herein referred to as “the internal regulator”.

Do:

maintain a regular dialogue with the internal regulator outside of normal interventions, so that both parties are aware of each other’s activities.

use the internal regulator to support your interventions, and encourage their participation.

use the internal regulator to gather factual information during your interventions, and provide you with advice.

encourage the internal regulator to undertake pre-inspections, and share the findings openly.

give appropriate credit to the internal regulator where they determine effective findings as part of their internal processes.

support the profile and ‘independence’ of the internal regulator in the dutyholder’s organisation, and support their actions where appropriate.

maintain ONR’s independence as the statutory regulator, whilst working alongside the internal regulator.

use internal regulator feedback to inform your intervention planning.

involve the internal regulator in your annual planning process, and consider accounting for their interventions in determining your inspection coverage.

Don’t:

use the internal regulator to make regulatory judgements on your interventions (or give this impression); such judgements are reserved to ONR.

allow the internal regulator to divert your inspection into areas of ‘interest’ to them, but not to you.

allow the internal regulator to advocate on behalf of the organisation in front of those being inspected.

criticise the internal regulator by association for finding shortfalls in the dutyholder organisation.

undermine the internal regulator function in the dutyholder’s organisation.

expose the internal regulator to areas outside of their competence.

# Appendix 4 – Official notebooks

Official notebooks should be used by inspectors to record details of inspections 
(to record any formal advice given to a dutyholder, for investigation, to record contemporaneous notes if a matter of evident concern is raised or observed) which may be needed to uphold enforcement action (including decisions to take no action).

This includes activity to support investigation and prosecution, i.e., taking legal proceedings (for example, in a court of law) noting that there are also a number of specific forms that should be used to record details relating to investigation [2].

The following points are important and support potential disclosure:

As a matter of good practice each notebook should bear the name of the inspector and the date that the notebook use commenced. It is also good practice to reference the previous and next notebook serial numbers if applicable (for example, spanning activity over multiple notebooks).

A notebook may contain material which is liable to disclosure if it potentially undermines the prosecution case or assists the defence case.

It must be clear what any entry within the notebook relates to, so as to assist a later disclosure decision should the investigation or inspection lead to a prosecution.

Even if the notebook does not contain any material which satisfies the disclosure tests, the defence will be entitled to inspect it if the maker of the notes wishes to refer to them when giving evidence.

Therefore, it is important that:

Notebooks contain only material which relates to inspections and investigations (including measurements, informal admissions and other factual information).

It is clear to which investigation or inspection each entry refers.

Each note should be clearly headed and dated.

Factual information relevant to the matter:

people spoken to, and their position/status

regulatory action taken (or not taken) with supporting reasons

observations made

advice given

Inspector’s powers used

legal requirements which may have been breached

measurements, sketches and photographs taken

details of documents seen or copied

Relevant information to support investigations (noting other forms are also required to be used):

details of interviews

collection of physical evidence

The status of any notebook entry is clear and, if necessary, suitably qualified, for example to show that measurements are approximate.

Entries are unambiguous and cannot be misrepresented. This is particularly important if an entry suggests or apportions blame. The defence may argue that there was bias in the investigation and that an inspector did not fulfil the requirement under the Criminal Procedure and Investigations Act 1996 (CPIA) to be a "finder of fact" for both the prosecution and defence.

Notebooks should be used and kept in such a way that it is clear that the contents have not been altered or otherwise tampered with. For example, entries must be written in a permanent ink form.

Ensure acceptable quality by:

Writing clearly and permanently, preferably in black ink

No gaps

No blank lines

No over-writing

If a simple error is made e.g. spelling mistake in a name, then a clearly made correction may be appropriate however, caution should be taken concerning altering a record, which could later be challenged in a legal context.

No pages removed

No unrelated material

No separate sheets of paper

ONR Inspectors are issued with official notebooks to ensure that they are able to enact their statutory powers in accordance with ONR process and relevant administrative acts. It is the responsibility of the Inspector to ensure that they have an official notebook in their possession should it be needed (for example, when visiting dutyholder premises to undertake inspection).

Official notebooks remain the property of ONR, and Inspectors are responsible for storing them safely/securely until the information they contain is no longer required. Notebooks used in investigations should be kept for a minimum of six months following a conviction.

It is acceptable to use more than one notebook concurrently. A consistent approach should be followed, and it is recommended that if moving from using one notebook to another a contemporaneous record is made to cross reference records and notebooks (i.e., serial number).

# Appendix 5 – Interaction with safety representatives

Safety representatives status

Health and Safety representatives’ functions are given by law under the Safety Representatives and Safety Committees Regulations 1977. Health and Safety Representatives are appointed by trade unions to represent a group or groups of workers of a class for which the union has negotiating rights. However, this does not act as a limitation to representatives when raising general matters affecting the health and safety of employees as a whole. Fundamentally the role of a health and safety representative covers three areas:

- Representation of employees to the employer in matters of health and safety.

- Inspection of the workplace.

- Inspection of documentation both for the purpose of health and safety.

They also will need to be given sufficient information and knowledge, by their employer, to enable them to play an informed part in promoting health and safety at work.

Safety representatives’ have a legal right to:

Represent employees in discussions with the employer on health, safety or welfare and in discussions with HSE or other enforcing authorities

Investigate hazards and dangerous occurrences

Investigate complaints; carry out inspections of the workplace and inspect relevant documents

Attend safety committees

Be paid for time spent carrying out their functions, and to undergo training.

Guidance given to safety representatives states the procedure to follow when there is a breach in the law relating to safety:

Expectation for safety representatives is that:

if there is a breach in the law relating to safety they will raise the issue with a senior dutyholder representative or union official initially.

If a serious problem remains and/ or there is a risk of injury, the safety representative should contact ONR.

ONR Inspector status

Under section 28(8) of the Health and Safety at Work Act 1974 and Schedule 8, Part 4 of the Energy Act 2013 Inspectors have a legal duty to communicate with employees (or their representatives), to keep them adequately informed about matters affecting their health, safety or welfare.

It is good practice to have a positive working relationship with site safety representatives; this may take the form of regular meetings or having well-established channels of communication between Inspectors and safety representatives (preferably without site management present) to enable safety representatives to openly raise matters without fear of reprisal. Benefits of this working relationship include accessing insight into site safety culture, working practices and site awareness of risk.

In relation to potential concerns, whistleblowing and complaints raised with the Inspector by safety representatives the same processes may apply as described in ONR-WB-PROC-001 [18]. However due to the functions given to safety representatives under law, the expectation is that these processes would only be invoked following the matter of concern firstly being taken through the internal channels available to safety representatives.

Guidance for inspectors

Meetings with safety representatives (without management present) should normally be conducted in confidence and any matters divulged which are considered to be of a protected disclosure nature should be treated appropriately. The Inspectors should make clear to the safety representative what they intend to do with the disclosure they receive. This also applies where the Inspector intends to take no action.

The Inspector has a duty (under 28(8) of HSWA) to communicate with the safety representative and should keep them informed of the development of actions arising from the disclosure.

Inspectors should be wary of being drawn on matters not directly relating to safety 
(for example, pay negotiations or personal grievances).

Further guidance on Health and Safety Representatives can be found on the HSE website.

# References

| [1] | ONR, “ONR-ENF-GD-006 - Enforcement Management Model”. |
| --- | --- |
| [2] | ONR, “ONR-ENF-GD-005 - Conducting Investigations”. |
| [3] | ONR, “ONR-RIO-PROC-001 - Management of Regulatory Issues”. |
| [4] | ONR, “ONR-OL-PROC-003 - Processing and Governance of Incident Notification By ONR”. |
| [5] | ONR, “ONR-PER-PROC-001 - Regulatory Permissioning”. |
| [6] | ONR, “CNS-INSP-GD-001 - Nuclear Security Inspection”. |
| [7] | ONR, “SG-INSP-GD-001 - Nuclear Safeguards Inspection”. |
| [8] | ONR, “ONR-HR-R2A2-050 - Site and Nominated Site Inspector”. |
| [9] | ONR, “ONR-GEN-GD-013 - Guidance on the assignment of dutyholder attention levels”. |
| [10] | ONR, “ONR-HR-R2A2-004 -Band 1 Head of Regulation (HoR)”. |
| [11] | ONR, “ONR-HSW-GD-004 - UK travel on official business”. |
| [12] | ONR, “ONR-HSW-IN-005 - Visiting site: Health and safety instructions and guidance”. |
| [13] | ONR, “ONR-RD-POL-002 - Risk-informed and targeted engagements policy”. |
| [14] | ONR, “ONR-ISEC-POL-002 - Information Security Policy”. |
| [15] | HM Goverment, “Regulators Code,” 2014. [Online]. Available: https://www.gov.uk/government/publications/regulators-code. |
| [16] | ONR, “ONR-ENF-POL-001 - Enforcement Policy Statement,” [Online]. Available: https://www.onr.org.uk/our-work/how-we-regulate/enforcement/. |
| [17] | ONR, “A guide to enabling regulation,” 2020. [Online]. Available: https://www.onr.org.uk/documents/2020/a-guide-to-enabling-regulation-2020.pdf. |
| [18] | ONR, “ONR-WB-PROC-001 - Whistleblowing”. |
| [19] | ONR, “NS-INSP-GD-051 - Dealing with Matters of Evident Concern and Potential Major Concern”. |
| [20] | ONR, “ONR-COM-GD-001 - Style Guide”. |
| [21] | ONR, “NS-TAST-GD-080 - Nuclear Safety Advice and Challenge”. |
| [22] | IAEA, “IAEA GSR Part 1 - Govermental, Legal and Regulatory Framework for Safety,” International Atomic Energy Agency (IAEA), Vienna, 2016. |
| [23] | IAEA, “IAEA Safety Standards - SSR-6 - Regulations for the Safe Transport of Radioactive Material,” 2018. [Online]. Available: https://www-pub.iaea.org/MTCD/Publications/PDF/PUB1798_web.pdf. |
| [24] | IAEA, “IAEA-TECDOC-1867 - IAEA Handbook for Regulatory Inspectors of Nuclear Power Plants”. |

# Document control information

Authored by: Nuclear Safety Inspector

Approved by: Head of Profession – Operational Inspection

Issue: 6.1

Published: August 2025

Next scheduled review: August 2030

Document reference: ONR-INSP-GD-064

Record reference: ONRHH-822789359-20031

Revision commentary

| Issue | Description of update(s) |
| --- | --- |
| 6 | Major update to amalgamate the content of ‘ONR-INSP-GD-059 - Guidance for Inspection Strategy Planning and Recording’ with the content of this document to cover general guidance to inspectors on inspection. |
| 6.1 | Minor update to correct references. |

This guide supports ONR in aligning with IAEA practices and meeting key IAEA guidance, specifically on regulatory staffing, competence and graded inspections [22], [23], [24].

Within defence there is also a Level 0 which involves the CNI and the Minister for Defence Procurement.